## Opt64
September/02/99 (A01)
Category | VI name | Contents
Configuration
| AVR3267s Communication System.vi | Communication System PDC/PHS/IS-136/IS-95/W-CDMA
| AVR3267s PDC Set Standard.vi | Type PDC 800M-1/800M-2/800M-3/PDC 1.5G
Link UPLINK/DOWNLINK
Meas Mode BURST/MULTI-BURST/CONTINUOUS
Slot Format CONTROL/TRAFFIC/VOX
Rate FULL RATE/HALF RATE
Sync Word NO SYNC WORDS1,S7/S2,S8/S3,S9/S4,S10/
S5,S11/S6,S12
Root Nyquist Filter ON/OFF
Freq Meas range NORMAL/EXPAND
Filter Mode WIDE/NARROW
Offset Level
Frequency Input FREQUENCY/CHANNEL
Input RF/BASEBAND (I&Q)
Baseband Input AC/DC
IQ Inverse NORMAL/INVERSE
Cont Auto Level Set ON/OFF
| AVR3267s PHS Set Standard.vi | Link UPLINK/DOWNLINK
Meas Mode BURST/CONTINUOUS
Slot Format CONTROL/TRAFFIC
Sync Type UNIQUE WORD/NO UNIQUE WORD
Root Nyquist Filter ON/OFF
Freq Meas range NORMAL/EXPAND
Filter Mode WIDE/NARROW
Offset Level
Frequency Input FREQUENCY/CHANNEL
Input RF/BASEBAND (I&Q)
Baseband Input AC/DC
IQ Inverse NORMAL/INVERSE
Cont Auto Level Set ON/OFF
| AVR3267s IS136 Set Standard.vi | Type IS-136 800M/IS-136 1.9G
Link UPLINK/DOWNLINK
Meas Mode BURST/MULTI-BURST/CONTINUOUS
Rate FULL RATE/HALF RATE
Sync Word No SYNC WORD/S1/S2/S3/S4/S5/S6
Root Nyquist Filter ON/OFF
Freq Meas range NORMAL/EXPAND
Filter Mode WIDE/NARROW
Offset Level
Frequency Input FREQUENCY/CHANNEL
Input RF/BASEBAND (I&Q)
Baseband Input AC/DC
IQ Inverse NORMAL/INVERSE
Cont Auto Level Set ON/OFF
| AVR3267s Opt64 Channel Edit.vi | Copy from STD ON/OFF
When "Copy from STD" is OFF,
Edit Channel UPLINK #1/UPLINK #2/UPLINK #3/
DOWNLINK #1/DOWNLINK #2/DOWNLINK #3
Start Channel no.
Stop Channel no.
Base frequency (Hz)
Channel Space (Hz)
Channel offset
| VAR3267s Opt64 Channel Setting On Off.vi | Channel 1 ENABLE/DISABLE
Channel 2 ENABLE/DISABLE
Channel 3 ENABLE/DISABLE
| AVR3267s Opt64 TD Power Trigger Setup.vi | Trigger Source FREE RUN/VIDEO/IF/EXT
Slope +/-
Trigger Level
Trigger Position
Delay Time
| AVR3267s Opt64 TD Power Window Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Window ON/OFF
Window Position
Window Width
| AVR3267s Opt64 TD Power Template Edit.vi | Template ON/OFF
Shift X
Shift Y
Copy from STD ON/OFF
When "Copy from STD" is OFF,
Template UP/LOW
Table Size
Time <array>
Level <array>
| AVR3267s Opt64 TD Power Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Detector NORMAL/POSI/NEGA/SAMPLE
Display Unit dBm/W/dBuV
Template Couple to Power ON/OFF
Template Limit
Judgement
Upper Limit
Lower Limit
| AVR3267s Opt64 On Off Ratio Trigger Setup.vi | Trigger Source FREE RUN/VIDEO/IF/EXT
Slope +/-
Trigger Level
Trigger Position
Delay Time
| AVR3267s Opt64 On Off Ratio Window Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Window ON/OFF
ON Position
ON Width
OFF Position
OFF Width
| AVR3267s Opt64 On Off Ratio Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Detector NORMAL/POSI/NEGA/SAMPLE
Display Unit dBm/W/dBuV
Judgment ON/OFF
Upper Limit
| AVR3267s Opt64 TD Sprus Trigger Setup.vi | Trigger Source FREE RUN/EXT
Slope +/-
Trigger Position
Delay Time
| AVR3267s Opt64 TD Sprus Table Edit.vi | Table No. 1/2/3
Load Table ON/OFF
When "Load Table" is OFF,
Freq. Type ABS/REL
Carrier Freq.
Table Size
Freqiency <array>
Limit Power <array>
Save Table ON/OFF
| AVR3267s Opt64 TD Sprus Parameters Setup.vi | Set to Default ON/OFF
When "Set to Default" is OFF,
Detector NORMAL/POSI/NEGA/SAMPLE
Result PEAK/RMS
Peak MKR Y Delta
Multiplier
Display Unit dBm/W/dBuV
Judgment ON/OFF
Preselector 1.6G/3.6G
| AVR3267s Opt64 Gate Setup.vi | Trigger Source FREE RUN/VIDEO/IF/EXT
Slope +/-
Trigger Level
Trigger Position
Delay Time
Gate Source Trigger/Ext Gate
Gate : Set to STD ON/OFF
When "Gate : Set to STD" is OFF,
Gate Position
Gate Width
Gated Sweep ON/OFF
Detector NORMAL/POSI/NEGA/SAMPLE
| AVR3267s Opt64 FD Power Window Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Window ON/OFF
Window Position
Window Width
| AVr3267s Opt64 FD Power Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Detector NORMAL/POSI/NEGA/SAMPLE
Gate Sweep ON/OFF
Display Unit dBm/W/dBuV
Judgment ON/OFF
Upper Limit
Lower Limit
| AVR3267s Opt64 FD OBW Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
OBW Value
Detector NORMAL/POSI/NEGA/SAMPLE
Judgment ON/OFF
Upper Limit
Lower Limit
| AVR3267s Opt64 Due to Tran Template Edit.vi | Template ON/OFF
Shift X
Shift Y
Margin Delta X
Copy from STD
When "Copy from STD" is OFF,
Template Size
Frequency <array>
Level <array>
| AVR3267s Opt64 Due to Tran Marker Edit.vi | Copy from STD ON/OFF
When "Copy from STD" is OFF,
Reference MKR Type NORMAL/INTEGRAL
Band Width
Offset MKR Type NORMAL/INTEGRAL
Marker Table Size
Offset Freq. <array>
Band Width <array>
Limit Level <array>
| AVR3267s Opt64 Due to Tran Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Freq. Setting START&STOP/SPAN
Detector NORMAL/POSI/NEGA/SAMPLE
Result MARKER/RELATIVE/ABS POWER
Ref Power REF MARKER/MODULATION
Display Unit dBm/W/dBuV
Template Couple to Power ON/OFF
Template Limit
Judgment
| AVR3267s Opt64 Due to Mod Template Edit.vi | Template ON/OFF
Shift X
Shift Y
Margin Delta X
Copy from STD ON/OFF
When "Copy from STD" is OFF,
Template Size
Frequency <array>
Level <array>
| AVR3267s Opt64 Due to Mod Marker Edit.vi | Copy from STD ON/OFF
When "Copy from STD" is OFF,
Reference MKR Type NORMAL/INTEGRAL
Band Width
Offset MKR Type NORMAL/INTRGRAL
Marker Table Size
Offset Freq. <array>
Band Width <array>
Limit Level <array>
| AVR3267s Opt64 Due to Mod Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Freq. Setting START&STOP/SPAN
Detector NORMAL/POSI/NEGA/SAMPLE
Result MARKER/RELATIVE/ABS POWER
Ref Power REF MARKER/MODULATION
Display Unit dBm/W/dBuV
Template Couple to Power ON/OFF
Template Limit
Judgment
| AVR3267s Opt64 Inband Sprus Template Edit.vi | Template ON/OFF
Shift X
Shift Y
margin Delta X
Copy from STD ON/OFF
When "Copy from STD" is OFF,
Template Size
Frequency <array>
Level <array>
| AVR3267s Opt64 Inband Sprus Marker Edit.vi | Copy from STD ON/OFF
When "Copy from STD" is OFF,
Reference MKR Type PEAK/INTEGRAL
Band Width
Marker Table Size
Start Freq. <array>
Stop Freq. <array>
Limit Level <array>
| AVR3267s Opt64 Inband Sprus Parameters Setup.vi | Set to STD ON/OFF
When "Set to STD" is OFF,
Freq. Setting START&STOP/SPAN
Detector NORMAL/POSI/NEGA/SAMPLE
Peak MKR Y Delta
Result MARKER/RELATIVE/ABS POWER
Ref Power REF MARKER/MODULATION
Display Unit dBm/W/dBuV
Template Couple to Power ON/OFF
TEmplate Limit
Judgment ON/OFF
| AVR3267s Opt64 Outband Sprus Table Edit.vi | Table No. 1/2/3
Load Table ON/OFF
When "Load Table" is OFF,
Table Size
Start Frequency <array>
Stop Frequency <array>
RBW <array>
VBW <array>
Sweep Time <array>
Limit Level <array>
| AVr3267s Opt64 Outband Sprus Parameters Setup.vi | Set to Default ON/OFF
When "Set to Default" is OFF,
Detector NORMAL/POSI/NEGA/SAMPLE
Peak MKR Y Delta
Display Unit dBm/W/dBuV
Judgment ON/OFF
Preselector 1.6G/3.6G
(A01) | AVR3267s Opt64 Modulation Parameters Setup.vi | Trigger Source FREE RUN/IF/EXT
Burst Search ON/OFF
Search Level
Trigger Slope +/-
Trigger Level
Select Time/Slot
When Select is Time,
Trigger Delay
When Select is Slot,
Slot Number
| AVR3267s PDC Power vs Time Template Setup.vi | Template Select User Template1/User Template2/
User Template3/STD Template
Template Edit d1,d2,d3,d4,d5,d6
Offset Level Unit dBm/dB
| AVR3267s PHS IS136 Pwr vs Time Template Setup.vi | Template Select User Template1/User Template2/
User Template 3/STD Template
Template Edit d1,d2,d3,d4
Offset Level Unit dBm/db
(A01) | AVR3267s Opt64 ACP Parameters Setup.vi | Trigger Source FREE RUN/IF/EXT
Burst Search ON/OFF
Search Level
Trigger Slope +/-
Trigger Level
Select Time/Slot
When Select is Time,
Trigger Delay
When Select is Slot,
Slot Number
ACP Unit dB/dBm/W
Ref. Level Adjust ON/OFF
Tx Power Average Times
Tx Power Unit dBm/W
(A01) | AVR3267s Opt64 ALL Measurement Parameters Setup.vi | Trigger Source FREE RUN/IF/EXT
Burst Search ON/OFF
Search Level
Trigger Slope +/-
Trigger Level
Select Time/Slot
When Select is Time,
Trigger Delay
When Select is Slot,
Slot Number
Tx Power Type BURST POWER/FRAME POWER
Tx Power Unit dBm/W
ACP Unit dB/dBm/W
Bit Rate Error Unit ppm/bps(Hz)
ACP Measurement ON/OFF
Bit Rate Error Measurement ON/OFF
Action/Status
(A01) | AVR3267s Opt64 Average Setup.vi | Function T-Domain Power/ON OFF Ratio/T-Domain Spurious/
F-Domain Power/F-Domain OBW/Due to Transient/
Due to Modulation/Inband Spurious/Outband Spurious/
TxPower/Power vs Time/Modulation OBW/
Modulation Accuracy/Bit Rate Error/ALL Measurement
Average Time
(A01) | AVR3267s Opt64 Start Measurement.vi | Function T-Domain Power/ON OFF Ratio/T-Domain Spurious/
F-Domain Power/F-Domain OBW/Due to Transient/
Due to Modulation/Inband Spurious/Outband Spurious/
TxPower/Power vs Time/ACP/Modulation OBW/
Modulation Accuracy/Bit Rate Error/ALL Measurement
Same Measurement Mode
| AVR3267s Opt64 Graph Type Selection.vi | Graph Selectection
Constellation/Constellation(Line)/Constellation(Dot)/
Constellation(Line&Dot)/I EYE Diagram/Q EYE Diagram/
I,Q EYE Diagrm/Demodulated Data/E.V.M. vs Symbol/
Mag. Error vs Symbol/Phase Error vs Symbol
| AVR3267s Opt64 Execute Auto Level.vi | Function T-Domain Power/ON OFF Ratio/T-Domain Spurious/
TxPower/Power vs Time/Modulation OBW/
Modulation Accuracy/Bit Rate Error
Data
| AVR3267s Opt64 TD Power Data.vi | Read Measurement Results
Power level, Judgment
| AVR3267s Opt64 On Off Ratio Data.vi | Read Measurement Results
ON Level, OFF Level, ON/OFF Ratio, Judgment
| AVR3267s Opt64 TD Sprus Data.vi | Read Measurement Results
Data Size
Table : Frequency, Power Level, Judgment
| AVR3267s Opt64 FD Power Data.vi | Read Measurement Results
Power Level, Judgment
| AVR3267s Opt64 FD OBW Data.vi | Read Measurement Results
OBW Frequency, Lower Frequency, Higher Frequency Judgment
| AVR3267s Opt64 Due to Tran Data.vi | Read Measurement Results
Data Size
Table : Power Level, Judgment
| AVR3267s Opt64 Due to Mod Data.vi | Read Measurement Results
Data Size
Table : Power Level, Judgment
| AVR3267s Opt64 Inband Sprus Data.vi | Read Measurement Results
Data Size
Table : Frequency, Power Level, Judgment
| AVR3267s Opt64 Outband Sprus Data.vi | Read Measurement Results
Data Size
Table : Frequency, Power Level, Judgment
| AVR3267s Opt64 Tx Power Data.vi | Read Measurement Results
Burst Power (dBm), Burst Power (W),
Frame Power (dBm), Frame Power (W)
| AVR3267s Opt64 Power vs Time Data.vi | Read Measurement Results
Burst Power (dBm), Judgment
(A01) | AVR3267s Opt64 ACP Data.vi | Read Measurement Results
ACP Lower 1, ACP Lower 2, ACP Lower 3,
ACP Upper 1, ACP Upper 2, ACP Upper 3,
Burst Power (dBm), Burst Power (W),
Frame Power (dBm), Frame Power (W)
| AVR3267s Opt64 Modulation OBW Data.vi | Read Measurement Results
OBW Frequency, Center Frequency
| AVR3267s Opt64 Modulation Accuracy Data.vi | Read Measurement Results
Modulation Accuracy (1 symbol) 6 parameters
Modulation Accuracy (10 symbols) 3 parameters
Modulation Accuracy (Peak) 6 parameters
| AVR3267s Opt64 Bit Rate Error Data.vi | Read Measurement Results
Bit Rate Error (ppm), Bit Rate Error (Hz)
(A01) | AVR3267s Opt64 ALL Measurement Data.vi | Read Measurement Results
Tx Power : Burst Power(dBm), Burst Power(W),
Frame Power(dBm), Frame Power(W)
OBW
ACP : ACP Lower 1, ACP Lower 2, ACP Lower 3,
ACP Upper 1, ACP Upper 2, ACP Upper 3
Modulation Accuracy : 1 symbol 6 parameters,
10 symbols 3 parameters,
Peak 6 parameters
Bit Rate Error : Bit Rate Error(ppm), Bit Rate Error(Hz)
| AVR3267s Opt64 Graph Constellation Result.vi | Constellation Results
Constellation/Constellation(Line)/Constellation(Dot)/
Constellation(Line&Dot)/I EYE Diagram/Q EYE Diagram/
I,Q EYE Diagrm/Demodulated Data/E.V.M. vs Symbol/
Mag. Error vs Symbol/Phase Error vs Symbol