## LW_Q8384 LIST
Version 2.1 : SEP/05/2001, ADVANTEST
Instrumenrt Driver Name |  |  | CVI Function Name | InstrPnl Menu | Header
Initialize Functions
| Initialize |  | avq8384_Initialize | Resource Name | -
|  |  |  | ID Query | *IDN?
|  |  |  | Reset Device | IPR
| Instrument Preset |  | avq8384_Reset | Reset Type Preset/Reset | IPR/C
Configuration Functions
| Wavelength | Center Wavelength | avq8384_CntrWvlng_MenuSet | CenterMode Value/Peak/Coursor/AutoPeak | CEN/PKC/CUC/APC
|  |  |  | X axis Mode Wvlen/Freq | (CEN)FRQ
|  |  |  | Center Value | (CEN)
|  |  |  | Auto Peak On/Off | (APC)
|  | Wavelength Span | avq8384_WvlngSpn_MenuSet | Span Mode Span/Start/Stop/Corsur/Full | SPA/STA/STO/LSP/FSP
|  |  |  | X axis Mode Wvlen/Freq | (SPA/STA/STO)FRQ
|  |  |  | Value | (SPA/STA/STO)
|  | X Axis Mode | avq8384_XaxisMode_Set | Mode Wvlen/Freq | FRQ
|  | Center Span | avq8384_CenterSpan_Set | X axis Mode Wvlen/Freq | FRQ
|  |  |  | Center | CEN
|  |  |  | Span | SPA
|  | Start Stop | avq8384_StartStop_Set | X axis Mode Wvlen/Freq | FRQ
|  |  |  | Start | STA
|  |  |  | Stop | STO
|  | Wavelength Setup | avq8384_Wavelength_Set | Wavelength Mode Center/Span/Start/Stop | CEN/SPA/STA/STO
|  |  |  | Value | (CEN/SPA/STA/STO)
|  |  |  | X axis Unit nm/GHz | (CEN/SPA/STA/STO)
| Reference Level | Reference Level Setup | avq8384_RefLvl_MenuSet | Level Mode WithValue/Peak/Cousor/ MinHold/MaxHold/AutoPeak | REF/PKL/CUL/MNH/MXH/RAU
|  |  |  | Ref Level | (REF)
|  |  |  | Level Unit dBm/mW/uW/nW | (REF)
|  |  |  | Mode Switch On/Off | (MNH/MXH/RAU)
|  | Ref Level Hold to Current | avq8384_RefLvl_HldToCur | HoldType Max to Current/Min to Current | MXC/MNC
|  | Reference Level Scale | avq8384_RefLvlScl_MenuSet | Display LIN/LOG | LIN
|  |  |  | Scale 10/5/2/1/0.5/0.2/0.1 | LEV
|  | Reference Level | avq8384_RefLvl_Set | Ref Level | REF
|  |  |  | Level Unit dBm/mW/uW/nW | (REF)
| Function | Average | avq8384_FuncAvg_Set | Average Mode Point/Sweep/Smooth | AVG/AVS/SMN
|  |  |  | Count | (AVG/AVS/SMN)
|  | Resolution | avq8384_FuncReso_Set | Resolution | RES
|  |  |  | Unit um/nm | (RES)
| Sweep Mode |  | avq8384_Swp_MenuSet | Sweep Mode Normal/adaptive/HI-Sens1/Hi-sens2/ Pulse/HI-Dynamic1/HI-Dinamic2 | SWE
|  |  |  | Gate Time | PGT
|  |  |  | Gate Time Unit sec/msec | (PGT)
|  |  |  | Sync Low/Hi | SYN
|  |  |  | Delay[usec] | DLY
|  |  |  | Edge Fall/Rise | EGE
| Cursor | Wavelength Cursor1 | avq8384_WavelenCurs1_Set | Set Lambda 1 | XAS
|  |  |  | X axis Mode Wvlen/Freq | FRQ
|  |  |  | Unit Lambda1 um/nm/GHz/THz | (XAS)
|  |  |  | Lambda1 On/Off | XAC
|  | Wavelength Cursor2 | avq8384_WavelenCurs2_Set | Set Lambda 2 | XBS
|  |  |  | X axis Mode Wvlen/Freq | FRQ
|  |  |  | Unit Lambda2 um/nm/THz/GHz | (XBS)
|  |  |  | Lambda2 On/Off | XBC
|  | Level Cursor1 | avq8384_LvlCurs1_Set | Set Level1 | YAS
|  |  |  | Unit Level1 dBm/dB/mW/uW/nW/% | (YAS)
|  |  |  | Level1 On/Off | YAC
|  | Level Cursor2 | avq8384_LvlCurs2_Set | Set Level2 | YBS
|  |  |  | Unit Level2 dBm/dB/mW/uW/nW/% | (YBS)
|  |  |  | Level2 On/Off | YBC
Appication Functions
| Appli Spec Width |  | avq8384_AppliSpcWid_MenuSet | Spec.Width On/Off | SPW
|  |  |  | Width Type Pk-XdB/Envelope/RMS/PeakRMS/Xnm Level | WTY
|  |  |  | XdB Param | WPX
|  |  |  | YdB Param | WPY
|  |  |  | K Param | WPK
|  |  |  | KR Param | WPR
|  |  |  | Xnm Level | WPW
|  |  |  | Xnm Level Unit um/nm | (WPW)
| Appli Notch Width |  | avq8384_AppliNtchWid_MenuSet | Notch Width Off/XdBWidth/XnmLevel | NWD
|  |  |  | Level | NLV
|  |  |  | Width | NWI
|  |  |  | Width Unit un/nm | (NWI)
| Appli Optical Amp |  | avq8384_AppliOptAmp_MenuSet | Optical Amp On/Off | OAM
|  |  |  | Optical Amp Mode WDM/Single | OMD
|  |  |  | NF Select Total/s-sp | NFT
|  |  |  | ASE FIT MEM-3/Gauss | FTM
|  |  |  | Spectrum Divition On/Off | SDV
|  |  |  | K Parameter 2 | NFK
|  |  |  | WDM ASE Auto On/Off | WAU
|  |  |  | Masked Span | SNA
|  |  |  | Masked Span Unit um/nm | (SNA)
|  |  |  | Fitting Span | SNB
|  |  |  | Fitting Span Unit | (SNB)
|  |  |  | Filter Delta L | FDL
|  |  |  | Filter Delta L Unit um/nm | (FDL)
|  |  |  | Pin Loss | LPI
|  |  |  | Pout Loss | LPO
|  |  |  | Wdm YdB Param | WYD
| Appli WDM | WDM List Menu Set | avq8384_AppliWdmLst_MenuSet | Wdm List Disp On/Off | WDM
|  |  |  | WDM Mode MultiPeak/SNR/Relative/ITU-Grid | WMD
|  |  |  | List All On/Off | WAL
|  |  |  | WDM YdB param | WYD
|  | WDM Ase Auto Set | avq8384_AppliWdmAse_Set | WDM Ase Auto On/Off | WAU
|  |  |  | When "WDM Ase Auto" is Off, Ase Fitting Gauss/FitMEM3/ManualASE | FTM
|  |  |  | When "Ase Fitting" is ManualASE, Manual Ase Level | MAL
|  |  |  | Level Unit dBm/mW/uW/nW | (MAL)
|  |  |  | When "Ase Fitting" is not Manual ASE, Masked Span[nm] | SNA
|  |  |  | When "Ase Fitting" is not Manual ASE, Fitting Span[nm] | SNB
|  | WDM Monitor Menu | avq8384_AppliWdmMon_MenuSet | WDM Monitor On/Off | LTM
|  |  |  | Display Moni/Spec | LSD
|  |  |  | GraphX Time/Channel | LHA
|  |  |  | Data Mode WvLen_Freq/Level/SNR | LVA
|  |  |  | Current Select Number (Time or CH) | LCT/LCC
|  |  |  | Meas Times | LMT
|  |  |  | Time Interval[min] | LTI
|  |  |  | WDM Threshold Level | WYD
|  | WDM Monitor PassFail | avq8384_AppWdmMon_PfSet | Limit Judge enable On/Off | LTF
|  |  |  | When "Limit Judge Enable" is ON, Lambda Drift Lmt[nm] | LFD
|  |  |  | When "Limit Judge Enable" is ON, Level Upper Limit | LUL
|  |  |  | When "Limit Judge Enable" is ON, Level Lower Limit | LLL
|  |  |  | When "Limit Judge Enable" is ON, Limit Level Unit dBm/mW/uW/nW | (LUL & LLL)
|  |  |  | When "Limit Judge Enable" is ON, SNR Lower Limit[dB] | LSL
|  | WDM Monitor ABS/REL | avq8384_AppWdmMon_ArSet | ABS/REL ABS/Initial/Nominal | LAR
|  |  |  | When "ABS/REL" is Nominal, Nominal Level | LNL
|  |  |  | When "ABS/REL" is Nominal, Nominal Level Unit dBm/mW/uW/nW | (LNL)
|  |  |  | When "ABS/REL" is Nominal, Nominal SNR[dB] | LNS
| Appli Select Pin Menu |  | avq8384_AppliSelPin_MenuSet | Select Pin On/Off | NPK
|  |  |  | Level Value | PLV
|  |  |  | Level Unit dBm/mW/uW/nW | (PLV)
|  |  |  | Wavelength Value | PLW
|  |  |  | WvLen Unit un/nm | (PLW)
Action/Status Functions
| Measurement | Single Measurement | avq8384_SingleMeas_Start | (No Item) | E
|  | Measurement Mode | avq8384_MeasMode_Start | Measurement Mode Stop/Single/Repeat | MEA
| Measurement Condition |  | avq8384_MeasCond_MenuSet | Average | AVG
|  |  |  | Sweep Moed Normal/adaptive/HI-Sens1/ HI-Sens2/Pulse/HI-Dynamic1/ HI-Dynamic2 | SWE
|  |  |  | Resolution | RES
Resolution Unit um/nm
|  |  |  | Sampling Point 101/201/501/1001/2001/5001 | SPT
| Auto Span Mode |  | avq8384_Func_AutoSpanMode | Auto Span Abort/FullSpan/600to1000/900to1700 | AUT
| Power Monitor |  | avq8384_PowMoni_MenuSet | Power Monitor On/Off | PMO
|  |  |  | N Max | PNX
|  |  |  | Power Monitor Interval | PIN
| Display Control | Display Control Menu | avq8384_DspCtl_MenuSet | Dual On/Off | DUA
|  |  |  | Grid On/Off | GRI
|  |  |  | Act Up/Up&Low | AUL
|  |  |  | Sampling Point 101/201/501/1001/2001/5001/AUTO | SPT
|  | Multi Trace Menu | avq8384_DspCtrMlt_MenuSet | Multi Trace On/Off | MTE
|  |  |  | Trace Max | MMX
|  |  |  | Current Trace Set | MCU
|  |  |  | Auto Trace Increment On/Off | MAT
|  | Multi Trace Control | avq8384_DspCtrMlt_TraceCtr | Operation NextTrace/PreviousTrace/SetCurrentTrace/ DeleteCurrentTrace/DeleteAllTrace | MNT/MPT/MCU/MDC/MDA
|  |  |  | Treace Number | (MCU)
| Super Inpose |  | avq8384_SuperInpose_OnOff | Super Inpose | SIM
| Cursor | Cursor On Off | avq8384_Cursor_OnOff | Cursor On/Off | CUR
|  | Cursor Data Mode | avq8384_CursDatMode_Sel | Data Mode Normal/DeltaMode/2ndPeak/ Power/PeakToPeak | CUD
|  | Lambda2 Set Next Peak | avq8384_Lambda2NxtPk | Next Lambda2 Left Peak/Right Peak | LPS/RPS
| Normalize | Normalize PkNrm OnOff | avq8384_NormPkNm_OnOff | Peak Normalize On/Off | PNR
|  | Normalize Loss OnOff | avq8384_NormLoss_OnOff | Loss On/Off | LOS
|  | Normalize Trans OnOff | avq8384_NormTrns_OnOff | Trans On/Off | TRA
|  | Save Normalize | avq8384_Normalize_Save | Save Menu RefData/Meas1 | SAV
| Calibration | Calib Int | avq8384_CalCalibInt_Start | - | CLM
|  | Calib Ext | avq8384_CalCalibExt_Start | Cal Ext[nm] | CLE
|  | Cal Lambda Offset | avq8384_CalLamdOfs_Set | Lambda Offset | CLF
|  |  |  | Unit um/nm | (CLF)
|  | Cal Level Offset | avq8384_CalLvlOfs_Set | Level Offset[dB] | CLS
|  | Cal Auto Alignment | avq8384_CalAutoAlign_Start | - | ALM
| Device | Device Type Select | avq8384_DevDevType_Sel | Device Type InPRT/ExtPRT/Floppy | DEV
|  | Floppy On Off | avq8384_DevFlp_OnOff | Floppy On/Off(Memory) | FON
|  | Floppy Format Type | avq8384_DevFlpFmt | Format Type 2DD/2HD | FFO
|  | Bitmap Mode | avq8384_DevBitmap_MenuSet | Bitmap Compless On/Off | BCP
|  |  |  | Bitmap Save Type B&W/Gray/Color | BSV
|  | Color Pattern | avq8384_DevColorPatt_Set | Color Pattern 0/1/2/3/4 | CPT
|  | Ext Prt Menu Set | avq8384_DevExtPrt_MenuSet | Ext PRT Mode Gray/B&W-S/B&W-L | EPM
|  |  |  | Ext PRT Command ESC_P/ESC_P RAS/HP PCL | PRT
|  | Buzzer Menu Set | avq8384_DevBuzzer_Set | Beep On/Off | BUZ
|  |  |  | Warning On/Off | WAR
|  |  |  | Quit Beep On/Off | QUI
|  | Clock | avq8384_DevClock_Set | Year | CLO
|  |  |  | Month | CLO
|  |  |  | Day | CLO
|  |  |  | Hour | CLO
|  |  |  | Minute | CLO
|  | Clock On Off | avq8384_DevClock_OnOff | Clock On/Off | CKD
|  | Menu Out | avq8384_DevMenuOut_OnOff | Menu Output On/Off | MEN
| GPIB Control | SRQ Signal Control On Off | avq8384_SrqCtrl_OnOff | SRQ Out Trans/No Trans | SRQ
|  | Status Byte Mask | avq8384_StbMask_Set | Mask Value | MSK
|  | Status Byte Clear | avq8384_StbClear | - | CSB
|  | Header Data On Off | avq8384_HdData_OnOff | Header On/Off | HED
| Controlling | Terminator Select | avq8384_Terminatior_Sel | Termineter NL<EOI>/NL/<EOI>/CR NL<EOI> | DEL
|  | Data Separator Select | avq8384_DataSepa_Sel | Data Separetor Comma/Space/CRNL | SDL
|  | Message Separator Select | avq8384_MessSepa_Sel | Message Separetor CR NL/;(Semi coron) | MSP
| Data Out Select |  | avq8384_DatOut_Sel | Data Format ASCII/Bin16bit/Bin64bitFlot/Bin32bitFlot/ Bin32bitFlote(NEC) | FMT
|  |  |  | Scleen Select lower/upper | OVS
Output Data Functions
| Hold Mode Data |  | avq8384_holdMode_Data | Hold Mode | MXH?/MNH?
| Waveform Data | Waveform Data Number | avq8384_WvDataNum_Data | Waveform Data Num | ODN?
|  | Waveform Data Output(16Bit) | avq8384_Waveform_Data | (Set) Select Axis X/Y/Maxhold Y/Minhold Y | FMT1 & OSD
|  |  |  | axis data Array | (OSD)
|  | Waveform Data Output (ASCII) | avq8384_Waveform_Data_As | (Set)Select Axis X/Y/Maxhold Y/Minhold Y | FMT0 & OSD
|  |  |  | axis data Array | (OSD)
|  | Wavefirm Data Output (64Bit) | avq8384_Waveform_Data_64bit | (Set)Select Axis X/Y/Maxhold Y/Minhold Y
axis data Array
|  | Wavefirm Data Output (32Bit) | avq8384_Waveform_Data_32bit | (Set)Select Axis X/Y/Maxhold Y/Minhold Y
axis data Array
| Peak Search | Peak Search Data (PWR) | avq8384_PeakSrcPWR_Data | Min | OPK?
|  |  |  | Max | OPK?
|  |  |  | Average | OPK?
|  | Peak Search Data (Spectrum) | avq8384_PeakSrcSpectrum_Data | Wavelength | OPK?
|  |  |  | Level | OPK?
| Cursor Data |  | avq8384_Cursor_Data | PowerMode | PMO?
|  |  |  | Cursor Mode | CUD?
|  |  |  | Hold Mode | avq8384_holdMode_Data
|  |  |  | Trend data Number | OCD?
|  |  |  | Data1 | OCD?
|  |  |  | Data2 | OCD?
|  |  |  | Data3 | OCD?
|  |  |  | Data4 | OCD?
|  |  |  | Data5 | OCD?
|  |  |  | Data6 | OCD?
|  |  |  | Data7 | OCD?
|  |  |  | Data8 | OCD?
| Halfwidth Data |  | avq8384_Halfwidth_Data | LMCN | OSW?
|  |  |  | LMHW | OSW?
|  |  |  | NOSP | OSW?
| Notchwidth Data |  | avq8384_Notchwidth_Data | LMCN | ONW?
|  |  |  | LMHW | ONW?
| Gain and NF Data |  | avq8384_OptAmpGainNf_Data | LMCN | OGN?
|  |  |  | GAIN | OGN?
|  |  |  | PASE | OGN?
|  |  |  | NF | OGN?
| Opt.Amp | WDM List Data 1 | avq8384_OptAmpWdmResult1_Data | Peak Count | OWP?
|  |  |  | Lambda Arr | OLS?
|  |  |  | Gain Arr | OLS?
|  |  |  | Pase Arr | OLS?
|  |  |  | NF Arr | OLS?
|  | WDM List Data 2 | avq8384_OptAmpWdmResult2_Data | Peak Count | OWP?
|  |  |  | Lambda Arr | OWN?
|  |  |  | Pout Arr | OWN?
|  |  |  | Gain Arr | OWN?
|  |  |  | Pase Arr | OWN?
|  |  |  | NF Arr | OWN?
| Power Monitor | Power Monitor Data | avq8384_PowerMoni_Data | LVLG | OPM?
|  | Power Monitor N Max Data | avq8384_PowerMoniNmax_Data | N Max | PNX?
|  | Power Monitor Mode Data | avq8384_PowerMoniMode_Data | Mode | PMO?
| Gain NF Total ASE Data |  | avq8384_GainNfTotAse_Data | LMCN | OPN?
|  |  |  | Gain | OPN?
|  |  |  | Pase | OPN?
|  |  |  | Nf | OPN?
|  |  |  | Pspw | OPN?
| Wdm Peak Number Data |  | avq8384_WdmPkNum_Data | WDM Peak Num | OWP?
| WDM List | WDM List OnOff Data | avq8384_WdmListOnOff_Data | WDM List Window State | WDM?
|  | Number Data | avq8384_ListDatNum_Data | List Data Number | OLN?
|  | WDM List Data | avq8384_ListOn_Data | WDM Mode | WDM?
|  |  |  | List Num | OLN?
|  |  |  | Array1 | OLS?
|  |  |  | Array2 | OLS?
|  |  |  | Array3 | OLS?
|  |  |  | Array4 | OLS?
|  |  |  | Array5 | OLS?
|  | WDM Monitor Data | avq8384_WdmMon_Data | (Set)TimeData | OLT
|  |  |  | Pass Fail | LTF?
|  |  |  | Peak Count | OLN?
|  |  |  | X Data Arr | OLT
|  |  |  | Level Data Arr | OLT
|  |  |  | SNR Data Arr | OLT
|  |  |  | X Judge Arr | OLT
|  |  |  | L Judge Arr | OLT
|  |  |  | S Judge Arr | OLT
|  | WDM Monitor Number Data | avq8384_WdmMonNum_Data | Number | ONT?
|  | WDM Limit Line Pass Fail Data | avq8384_WdmMonLimPf_Data | Result | LRS?
| Limit Line Pass Fail Data |  | avq8384_LimLinePf_Data | Result | LPF?
| ASE Fit Data | ST Point Data | avq8384_AseStPoint_Data | Start Point | PAS?
|  | Number Data | avq8384_AseNum_Data | Number Demand | PAN?
|  | ASE Fit Data (ASCII) | avq8384_AseFit_Data | Ase Fit Data Out | OPA?
|  | ASE Fit Data (16Bit) | avq8384_AseFit16Bit_Data | Ase Fit Data Out | OPA?
|  | ASE Fit Data (64Bit) | avq8384_AseFit64Bit_Data | Ase Fit Data Out | OPA?
|  | ASE Fit Data (32Bit) | avq8384_AseFit32Bit_Data | Ase Fit Data Out | OPA?
| Device Clock Data |  | avq8384_DevClock_Data | Year | CLO?
|  |  |  | Month | CLO?
|  |  |  | Day | CLO?
|  |  |  | Hour | CLO?
|  |  |  | Minute | CLO?
|  |  |  | Second | CLO?
| Instrument ID Data |  | avq8384_InstrID_Data | Company | *IDN?
|  |  |  | Machine ID | *IDN?
|  |  |  | Sereal No | *IDN?
|  |  |  | Rev 1 | *IDN?
|  |  |  | Rev 2 | *IDN?
| Self Test Data |  | avq8384_SelfTest_Data | Self Test Result | *TST?
Utility Functions
| Label Edit |  | avq8384_Label_Set | Label | LAB
| Meas Data Utility |  | avq8384_MeasData | Action Save/Load/Delete | SAV/RCL/DMD
|  |  |  | File Name | (SAV/RCL/DMD)
| Copy Function Copy |  | avq8384_FuncCopy_Start | - | COP
| Copy Function Feed |  | avq8384_FuncCopy_Feed | - | FEE
| Write to Instrument |  | avq8384_WriteInstrData | Write Buffer
| Read Instrument Data |  | avq8384_ReadInstrData | Read Buffer
| Read Limit Line Data |  | avq8384_ReadLimLinData | Read Data On/Off | LPR
|  |  |  | Select Data Off/1/2/3/4/5 | LPT
| Self Test |  | avq8384_SelfTest_Exe | - | *TST
| Error Message |  | avq8384_errorMessage | Status Code | -
|  |  |  | Message | -
Close Function
| Close |  | avq8384_Close | -